# In-Situ Test Console

The Gatan In-Situ software enables third parties to develop components that plug in to the software and provide dynamic information during the course of an experiment. The information can come from any source and it can be overlaid as text on images acquired through DigitalMicrograph. The plug-in components are regular Windows Dynamic Link Libraries (DLLs) that implement a small set of functions.

To ensure that components developed by third parties for the Gatan In-Situ software are compatible with the API requirements, we have developed a small console application that you can run. This probes the list of exported functions from the In-Situ DLL and summarizes its findings to the console window and a log file. If the DLL passes the test then you can feel confident that the information it provides will be available in the Gatan Microscope Suite In-Situ software for display on images.

## Running the test

Unpack the zip archive InSituTestConsole.zip. This contains 2 files, one for testing on 32-bit Windows, one for testing on 64-bit Windows 7. To run the test application, launch the one which matches your PC architecture. The console application will check for In-Situ DLLs in 3 locations:

### Windows 7 (32 and 64 bit)

- Current folder

- C:\Program Files\Gatan\InSitu

- C:\programdata\Gatan\InSitu

### Windows XP (32-bit)

- Current folder

- C:\Program Files\Gatan\InSitu

- C:\Documents and Settings\All Users\Application Data\Gatan\InSitu

## Test Results

The results of a test are displayed in the console window and in a generated log file. The results include a description of each data component exposed by the DLL and (optionally) some sample data from the DLL.

If the DLL does not pass the test please contact the author and describe the failure to them. The DLL will not provide any information to the Gatan In-Situ software for display on acquired images.